## Modbus
Basic Information |  | Configuration | [5 empty] | Scaling |  |  |  |  | Historian |  | Modbus Configuration
Name * | Group Name | Driver Name * | Instance Name * | Connection Name * | Data Type * | Priority | Writable | Input Min | Input Max | Output Min | Output Max | Decimal Points | Historian Type | Historian Time (sec) | Object Type * | Address *
Var1 | Motors | Modbus | Modbus_instance | Connection1 | INT | Normal | true | -32768 | 32767 | 0 | 1000 | 0 | None | 1 | Holding Registers | 1

## OPC UA
Basic Information |  | Configuration | [5 empty] | Scaling |  |  |  |  | Historian |  | OPC UA Configuration
Name * | Group Name | Driver Name * | Instance Name * | Connection Name * | Data Type * | Priority | Writable | Input Min | Input Max | Output Min | Output Max | Decimal Points | Historian Type | Historian Time (sec) | Object Type * | Browse Path (Address) *
Temp_Sensor | Sensors | OPC_UA | OPC_Instance | OpcUaClient1 | FLOAT | Normal | true | -32768 | 32767 | 0 | 1000 | 2 | None | 2 | PLC Marker | ns=2;s=Local HMI.Tags.tag 1

## Legend
LEGEND
Color Coding
Yellow background | Required field — must be filled in
Blue background | Optional field — can be left blank
Green row | Example row — safe to delete before importing
Fields marked * | Required — import will fail without these
Allowed Values
Data Type | BOOLEAN, BYTE, USINT, SINT, INT, UINT, DINT, UDINT, LINT, ULINT, FLOAT, DOUBLE, STRING
Priority | Normal ¦ High ¦ Higher ¦ Highest
Writable | true ¦ false
Historian Type | None ¦ Time Based ¦ On Change
Modbus Object Type | Holding Registers ¦ Coils ¦ Input Registers ¦ Discrete Inputs
OPC UA Object Type | PLC Marker
Modbus Address | Number 0–65535
OPC UA Browse Path | e.g. /Objects/Local HMI/Tags/TagName
Historian Time | Seconds, 0–100000
Decimal Points | 0–10